Commonwealth of Virginia

Division of Consolidated Laboratory Services

600 North 5th St.

Richmond, Virginia 23219

I

804-648-4480

**REPORT OF ANALYSIS** .,.**DRCepLoSrtLDIMaSte:**#:

# Mail To

DCLS

**04/18/2024**

**E240304951**

HIGH KNOB UTILITIES 17WINDYWAY

FRONT ROYAL, VA 22630

**PWSID** 2187522

**REGION** 2

# Sample Information

**DATE RECEIVED SAMPLING DATE COLLf:CTED BY SAMPLE MATRIX ORDERED TEST PROJECT NAME**

04/17/2024 09:56

04/16/2024 08:30

GARRISON W. MYER DRINKING WATER 206-086 MPN QT DW2024-Q2

**LOCATION FACILITY FACILITY DESC TYPE CATEGORY ORDER NUMBER**

SPRING NO.5+6 SP00S

SPRING NO. 5 & 6 RT

GE 98169

# Test Results

## *METHOD PARAMETER*

***SM 9223 B***

**APPROVED BY:** JFONVILLE, Scientist Senior DATE APPROVED: 04/18/2024

## *RESULT ANALYS/S DATE*

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL COLIFORM BY QUANTI•** | 9.7 MPN/100ml | 04/18/2024 | 14:25 |
| **E.COLI BY QUANTI-TRAY, MPN** | <1MPN/100ml | 04/18/2024 | 14:25 |

**Explanation of Terms and Disclaimers**

PMCL is defined as the "Primary Maximum Contaminant Level." SMCL is defined as the "Secondary Maximum Contaminant Level". If blank, level not defined by EPA. Results denoted with an asterisk (\*) indicate that the PMCL is exceeded. Test Results meet requirements of NELAP. Non-NELAP accredited analyses noted by AA\_ The results included on this report relate only to this specific sample and not to other samples tested from this sampling location.

**CONFIDENTIALITY NOTICE:** This report contains PRIVILEGED and CONFIDENTIAL INFORMATION. This report should not be reproduced, except in full, without the written approval of DCLS. If you have received this report in error, please notify DCLS immediately at (804) 648-4480 Ext. 171.

Page 1 of 1 for Sample E240304951 **COA\_DW.RPT**